## Bid Form
GENERAL CONTRACTOR BID FORM
Residence Inn Atlanta Midtown | [5 empty] | BID FORM INSTRUCTIONS: -All prospective bidders must utilize the 'General Contractor Bid Form' provided by Summit Hotel Properties. Incomplete or misuse of the returned Bid Tabulation will result in immedaite disqualification. -All items listed below each Division need to be itemized by Public Space & Guestrooms, if applicable. -Enter values in the yellow cells only. -Do not under any circumstances alter, modify, or change the format of this document.
ATTN: | Summit Hotel Properties
GC NAME: Land-Ron, Inc.
| Revised 08-21-2024 | Public Space | Guestrooms / Guest Corridors | Project | Claifaction
|  | Total | Total | Totals | Notes: | Value Engineering:
| DIVISION 0 | 43406.9245 | 197621.78 | 241028.7045
| Permits & Fees (pass through only, no mark-up) | Included | Included | 0
| Insurance | Included | Included | 0
| Tax (GA) | Included | Included | 0
| OH/P, fee | 43406.9245 | 197621.78 | 241028.7045
| DIVISION 1 - GENERAL CONDITIONS &REQUIREMENTS | 64191.5968 | 290983.1296 | 355174.7264
| Temporary Facilities | N/A | N/A | 0
| General Conditions | 40191.5968 | 182983.1296 | 223174.7264
| Dumpsters | Included | Included | 0
| Housing/Lodging | 24000 | 108000 | 132000
| General Labor | Included | Included | 0
| DIVISION 2 - EXISTING CONDITIONS & DEMOLITION | 20720 | 129275 | 149995
| Existing Conditions | Included | Included | 0
| Demolition | 17650 | 91000 | 108650
| Cleaning | 3070 | 11075 | 14145
| Flooring Protection | N/A | 27200 | 27200
| Temporary Interior Partitions | Included | Included | 0
| DIVISION 3 - CONCRETE | 1500 | 0 | 1500
| Concrete | 1500 | N/A | 1500
| Gypcrete | N/A | N/A | 0
| GPR Scanning | N/A | N/A | 0
| Saw Cutting | N/A | N/A | 0
| Coring | N/A | N/A | 0
| DIVISION 4 - MASONRY | 0 | 0 | 0
| Masonry | N/A | N/A | 0
| DIVISION 5 - METALS | 5540 | 0 | 5540
| Light Guage Metal Framing | N/A | N/A | 0
| Structural Steel | N/A | N/A | 0
| Metals | N/A | N/A | 0
| Misc Metals | N/A | N/A | 0
| Other - Gates at Exterior Patio Allowance | 5540 | N/A | 5540 | ALLOWANCE
| DIVISION 6 - WOOD/PLASTICS/COMPOSITES | 137586 | 447884 | 585470
| Rough Carpentry | Included | N/A | 0
| Finish Carpentry | 4280 | N/A | 4280
| Millwork | 99600 | 181280 | 280880
| Shower Surrounds - Install Only - OFCI | N/A | 47600 | 47600
| Blocking | 1500 | 11680 | 13180
| Stone - Tops & Splashes | 32206 | 207324 | 239530
| DIVISION 7 - THERMAL/MOISTURE PROTECTION | 1730 | 15091 | 16821
| Thermal and Moisture Protection | N/A | N/A | 0
| Insulation | N/A | N/A | 0
| Sealants | 1730 | 15091 | 16821
| Firestopping | N/A | N/A | 0
| Roofing | N/A | N/A | 0
| Siding | N/A | N/A | 0
| DIVISION 8 - OPENINGS/DOORS/WINDOWS | 17124 | 151315 | 168439
| Hollow Metal Frames | N/A | N/A | 0
| Metal Doors | N/A | N/A | 0
| Wood & Plastic Laminate Doors | 1254 | 108960 | 110214
| Windows | N/A | N/A | 0
| Entrances and Storefronts | N/A | N/A | 0
| Finish Hardware | Included | Included | 0
| Mirrors/Glazing/Storefronts | 15870 | N/A | 15870
| Other - Shower Door - OFCI | N/A | 35955 | 35955
| OFCI Security Latches & Smoke Seal - OFCI | N/A | 6400 | 6400
| DIVISION 9 - FINISHES | 110199.51 | 678938.17 | 789137.68
| Framing | Included | N/A | 0
| Sheetrock - Hang & Finish | 14972 | 78400 | 93372
| Wall Patch/Prep Allowance - 10% of finished wall area | 2165.02 | 71242.5 | 73407.52
| Flooring Prep Allowance - 10% of finished floor area | Included | Included | 0
| Flooring - LVT - OFCI | 11370.28 | N/A | 11370.28
| Flooring - Tile - OFCI | 39703.93 | 97371.27 | 137075.2
| Flooring - Carpet, Tile | N/A | N/A | 0
| Flooring - Carpet, Broadloom - OFCI | 8067.28 | 44992.4 | 53059.68
| Wallcoverings - Paint | 20869.5 | 337280 | 358149.5
| Wallcoverings - VWC General - OFCI | 13051.5 | 49652 | 62703.5
| Wallcoverings - VWC Specialty | N/A | N/A | 0
| DIVISION 10 - SPECIALITIES | 15380.45 | 41615.95 | 56996.4
| Acoustical Ceiling Tile(s) | 8560.45 | 12250.95 | 20811.4
| Signage - Code Required | N/A | N/A | 0
| Signage - OFCI | 720 | 3350 | 4070
| Toilet Partitions | 4500 | N/A | 4500
| Operable Partitions | N/A | N/A | 0
| Bath Accessories / Hardware - Install Only - OFCI | 900 | 18920 | 19820
| Corner Guards - Install Only - OFCI | 700 | 7095 | 7795
| Shelving - BOH, Storage, Guestroom | N/A | N/A | 0
| DIVISION 11 - EQUIPMENT | 3000 | 36000 | 39000
| Installation - OFCI Appliances, if applicable | 3000 | 36000 | 39000
| DIVISION 12 - FURNISHINGS | 10155 | 75350 | 85505
| FF&E Installation | 10155 | 75350 | 85505
| DIVISION 13 - SPECIAL CONSTRUCTION | 0 | 0 | 0
| Misc Services | N/A | N/A | 0
| DIVISION 14 - CONVEYING EQUIPMENT | 0 | 0 | 0
| Elevator - Finishes | BY OTHERS | BY OTHERS | 0
| DIVISION 15 - MECHANICAL & PLUMBING | 105570 | 398860 | 504430
| Plumbing Fixtures - Furnish & Install - OFCI | 11960 | 247285 | 259245
| Tub/Shower Conversions - Furnish & Install - OFCI | N/A | Included | 0
| Shower Pans - Install Only - OFCI | N/A | Included | 0
| Accessories | Included | Included | 0
| Fire Supreesion / Sprinklers | 17700 | 142975 | 160675
| HVAC | 75910 | N/A | 75910
| Mechanical | Included | 8600 | 8600
| DIVISION 16 - ELECTRICAL | 49890 | 138960 | 188850
| General - New/Relocated/Modified | 23790 | 42520 | 66310
| Lighting Fixtures - Architectural - OFCI | 15600 | 720 | 16320
| Lighting Fixtures - Decorative - OFCI | 2900 | 63420 | 66320
| Low Voltage - A/V, Data | N/A | N/A | 0
| Fire Alarm | BY OTHERS | BY OTHERS | 0
| ADA | Included | Included | 0
| ADA - Hearing Impaired | N/A | 24500 | 24500
| Security | N/A | N/A | 0
| Other - Occupancy/Photocell/Vacancy Sensor - OFCI | 4600 | 7800 | 12400
| Dimming Allowance | 3000 | N/A | 3000 | ALLOWANCE
| MISC - ADA CONSTRUCTION | 0 | 66000 | 66000
| Other - ADA | Included | 66000 | 66000
| MISC | 0 | 0 | 0
| Communications (POTs, Fiber, etc) | N/A | N/A | 0
|  | Public Space | Guestrooms / Guest Corridors | Totals
| SUBTOTAL BASE BID AMOUNT | 585993.4813 | 2667894.0296 | 3253887.5109
3253887.5109
ADDITIONAL ALTERNATES and/or BREAKOUTS:
Public Space
1 | Paint building exterior front |  | 118750
2 | Paint railings at front guestroom balconies
3 | Paint fence at front courtyard
4 | Restripe parking areas - TBD. Price not available at time of bid. |  | TBD
5 | Install new OF flooring at elevators |  | 2437.5
6 | Install new OF elevator panels |  | 6750
7 | Install new OF ceiling at elevators |  | 3375
8 | Install new OF lighting at elevators |  | 1687.5
10 | Demo, F/I Millwork screen- Allowance. Need details/drawings and finishes- Per drawings dated 6/18/2024 |  | 28646.25
11 | Furnish new buffett sneeze guard- Allowance. Need details/drawings and finishes Per drawings dated 6/18/2024 |  | 16037.5
12 | Furnish new towel and trash unit at fitness room. |  | 4500
13 | Furnish new Hydration station millwork at fitness room |  | 4750
14 | Furnish new Hydration station counter top at fitness room |  | 1875
15 | F/I Exterior Hardwired Light Fixture - Exterior spotlights change to LED - Allowance. Need details/specs. |  | 2937.5
| PS ALTERNATE TOTAL |  | 191746.25
Guestrooms
9 | Furnish all OFCI architectural lighting in scope above (QTY:6 ALB-012, QTY:22 ALB-014, QTY: 7 ALB-015, QTY: 62 ALR-030, QTY: 31 ALR-043, QTY: 24 ALR-074) |  | 30518.75
2 | TBD |  | 0
3 | TBD |  | 0
4 | TBD |  | 0
5 | TBD |  | 0
6 | TBD |  | 0
7 | TBD |  | 0
8 | TBD |  | 0
9 | TBD |  | 0
10 | TBD |  | 0
| GR ALTERNATE TOTAL |  | 30518.75

## LR-Breakdown
Residence Inn Atlanta Midtown Revised 11-11-2024
Guestrooms
|  | Scope | Spec | By | Qty |  | Price | Total
GUESTROOMS
| 1.1 | DEMO/CLEANING
2demo | 1.2 | Demo / Liquidation (Room type F existing built in counter top to remain- Per drawings dated 09-18-2024) |  | CFCI | 160 | ea | 225 | 36000
2clean | 1.3 | Cleaning |  | CFCI | 160 | ea | 55 | 8800
| 1.4 | FLOORING/BASE
2protect | 1.5 | Protect existing carpet |  | CFCI | 152 | ea | 100 | 15200
2protect | 1.6 | Protect existing kitchen LVT floor |  | CFCI | 160 | ea | 40 | 6400
9cpt | 1.7 | Re-attach existing carpet to new vanity transition |  | CFCI | 160 | ea | 40 | 6400
2protect | 1.8 | Protect existing base |  | CFCI | 160 | ea | 35 | 5600
9cpt | 1.9 | Install new OF carpet and pad at ADA rooms |  | OFCI | 8 | ea | 700 | 5600
9cpt | 1.10 | Install new OF rubber base at ADA rooms |  | OFCI | 8 | ea | 200 | 1600
9cpt | 1.11 | F/I new entry door threshold | TS-006 | CFCI | 160 | ea | 27.2 | 4352 | 7.2
| 1.12 | DRYWALL/WALL PREP
9wallprep | 1.13 | Wall prep as needed at painted walls |  | CFCI | 160 | ea | 150 | 24000
6blocking | 1.14 | Add wood blocking for wall mounted TV |  | CFCI | 160 | ea | 30 | 4800
9gwb | 1.15 | Wall patch as required due to electrical work and others |  | CFCI | 160 | ea | 60 | 9600
| 1.16 | PAINT / VWC
9pnt | 1.17 | Prep and paint existing entry door and frame |  | CFCI | 160 | ea | 82 | 13120
9pnt | 1.18 | Prep and paint existing bedroom door & frame |  | CFCI | 81 | ea | 82 | 6642
9pnt | 1.19 | Prep and paint existing connecting door & frame |  | CFCI | 8 | ea | 82 | 656
9pnt | 1.20 | Paint new bi-fold closet doors |  | CFCI | 164 | ea | 102 | 16728
9pnt | 1.21 | Prep, prime and paint ceilings (except 7th Floor guestrooms) |  | CFCI | 135 | ea | 270 | 36450
9pnt | 1.22 | Paint walls |  | CFCI | 160960 | sf | 1.1 | 177056
9tile | 1.23 | Install new OF wall/floor tile at fireplace - all 6 existing fireplace to remain and tile to be replaced per RFI dated 7/10/24 | TW-008 | OFCI | 220 | sf | 10 | 2200
9tile | 1.24 | F/I new metal transition at fireplace floor tile | TS-003 | CFCI | 6 | ea | 65.75 | 394.5 | 35.75
9tile | 1.25 | F/I new metal transition at fireplace wall tile | TS-008 | CFCI | 6 | ea | 54.6 | 327.6 | 24.6
9pnt | 1.26 | Paint existing window valance |  | CFCI | 418 | ea | 48 | 20064
9pnt | 1.27 | Paint existing A/C door |  | CFCI | 160 | ea | 80 | 12800
| 1.28 | Corner guards NOT Included |  | N/A |  |  |  | N/A
7seal | 1.29 | Caulking |  | CFCI | 160 | ea | 50 | 8000
| 1.30 | MILLWORK/STONE
6mill | 1.31 | F/I new Kitchen Cabinets Drawer, door fronts, stoppers and hardware only | WF-001 | CFCI | 152 | ea | 505 | 76760 | $325 50West, deliveried, Installed
6ctop | 1.32 | F/I new countertop at dining high table | CT-003 | CFCI | 64 | ea | 401 | 25664 | $226 TPS, deliveried, no Install
6ctop | 1.33 | F/I kitchen countertops | CT-003 | CFCI | 160 | ea | 657 | 105120 | $433 TPS, deliveried, no Install
6mill | 1.34 | F/I new kitchen cabinet boxes base and wall, Drawer, door fronts, stoppers and hardware at ADA - confirmed per RFI dated 7/10/24 |  | CFCI | 8 | ea | 2675 | 21400 | $2,475 50West, deliveried, Installed
6mill | 1.35 | Install new OF kitchen cabinet toe kick vinyl base - OFCI per RFI dated 7/10/24 | RB-002 | OFCI | 160 | ea | 25 | 4000
| 1.36 | APPLIANCES
11equ | 1.37 | Install new Owner Supplied kitchen appliances (refrigerator, microwave, cooktop, oven and dishwasher) |  | OFCI | 160 | ea | 225 | 36000
| 1.38 | PLUMBING
15pl | 1.39 | Install new OF kitchen garbage disposal |  | OFCI | 160 | ea | 55 | 8800
15pl | 1.40 | Install new OF kitchen sink, sink strainer & faucet | PL-106, PL-102, PL-203 | OFCI | 160 | ea | 270 | 43200
| 1.41 | Existing kitchen p-trap & angle stops to remain at std. rooms per RFI dated 7/10/24 |  | ETR |  |  |  | ETR
15pl | 1.42 | F/I new kitchen p-trap & angle stops at ADA rooms per RFI dated 7/10/24 |  | CFCI | 8 | ea | 85 | 680
15pl | 1.43 | F/I new 1/2' & 3/4' waste connections for diswasher if needed |  | CFCI | 160 | ea | 40 | 6400
| 1.44 | DOORS
8d | 1.45 | F/I new bi-fold closet door & hardware (Where mirrored closet doors previously existed ) - bi-fold confirmed, they can be molded T-Panel if in budget per RFI dated 7/10/24 | Type-D | CFCI | 164 | ea | 640 | 104960 | 430
8h | 1.46 | Install new OF security latches at existing entry door |  | OFCI | 160 | ea | 25 | 4000
8d | 1.47 | F/I new wall mounted doors stops | no specs | CFCI | 160 | ea | 25 | 4000 | TBD
8h | 1.48 | Install new OF smoke seal at existing entry door |  | OFCI | 160 | ea | 15 | 2400
| 1.49 | FF&E / EQUIPMENTS
12ff&e | 1.50 | Install all new OF FF&E & TVs (Headboard sconces included) (Room type F existing built in counter top to remain- Per drawings dated 09-18-2024) |  | OFCI | 160 | ea | 455 | 72800
12ff&e | 1.51 | Install new OF safe removed from scope per call 07-24-2024 |  | OFCI | 160 | ea | 5 | 800
10sign | 1.52 | Install new OF (do not hang stickers) and garmet hook @ fire sprinklers |  | OFCI | 160 | ea | 10 | 1600
2demo | 1.53 | Protect existing window treatments |  | CFCI | 160 | ea | 45 | 7200
| 1.54 | ELECTRICAL
| 1.55 | All cover plates,outlets, switches, data, cable ETR per RFI dated 7/10/24 |  | ETR |  |  |  | ETR
16deco | 1.56 | Install new OF dining pendant light or sconce at existing location |  | OFCI | 160 | ea | 60 | 9600
16deco | 1.57 | Install new OF kitchen ceiling light at existing location |  | OFCI | 160 | ea | 60 | 9600
16deco | 1.58 | Install new OF sconce at 2 bed unit |  | OFCI | 36 | ea | 60 | 2160
16 elect | 1.59 | Relocate power and data to new signature desk as needed |  | CFCI | 160 | ea | 85 | 13600
16 elect | 1.60 | Relocate power and data for wall monted TV, add blak plate over abandon power location |  | CFCI | 241 | ea | 120 | 28920
16deco | 1.61 | 7th Floor - Replace all track light (owner furmished) |  | OFCI | 25 | ea | 100 | 2500
|  | Subtotal | [5 empty] | 1014954.1
BATHROOMS
| 2.1 | DEMO/CLEANING
2demo | 2.2 | Demo |  | CFCI | 172 | ea | 225 | 38700
| 2.3 | FLOORING/BASE/WALLS
9tile | 2.4 | Install new OF floor tile at bathroom & vanity area | TF-006 | OFCI | 10275 | sf | 7.15 | 73466.25
9tile | 2.5 | Install new OF ADA RIS floor tile | TF-007 | OFCI | 40 | sf | 20 | 800
9tile | 2.6 | Install new OF tile base at bathroom, vanity and closet area | TB-001 | OFCI | 4255 | lf | 3 | 12765
9tile | 2.7 | F/I new schluter beween new floor tile to existing carpet transition | TS-003 | CFCI | 736 | lf | 7.47 | 5497.92 | 4.47
6ssurr | 2.8 | Install new OF shower surround, tub surround & ADA tub surround | PL-603/602 | OFCI | 170 | ea | 280 | 47600
9tile | 2.9 | Install new OF wall tile at ADA RIS | TW-005 | OFCI | 192 | sf | 10 | 1920
| 2.10 | GWB
9wallprep | 2.11 | Wall prep at VWC areas Included |  | CFCI | 28550 | sf | 1.43 | 40826.5
6blocking | 2.12 | Provide blocking |  | CFCI | 172 | ea | 40 | 6880
9gwb | 2.13 | F/I new cement board at the shower/tub walls. Provide waterproofing RedGuard |  | CFCI | 172 | ea | 360 | 61920
9gwb | 2.14 | Patch wall due to electrical work at vanity illuminated mirror |  | CFCI | 172 | ea | 40 | 6880
| 2.15 | Patch/repair ceiling in rooms below shower conversion rooms - NOT REQUIRED | N/A |  |  |  |  | N/A
| 2.16 | PAINT / VWC/TILE
9vwc | 2.17 | Install new OF VWC at bath and vanity back wall | V-301 | OFCI | 2284 | ly | 10.5 | 23982
| 2.18 | Paint walls at closet vanity side walls |  | CFCI |  |  |  | Included in guestrooms
9pnt | 2.19 | Prep, prime and paint ceilings |  | CFCI | 172 | ea | 80 | 13760
9pnt | 2.20 | Paint door and frame |  | CFCI | 172 | ea | 82 | 14104
15mech | 2.21 | F/I new plastic exhaust/return grill at shower/tub surround ( MNF=GAF SL8X8 or equal) per RFI dated 7/10/24 |  | CFCI | 172 | ea | 50 | 8600 | 24.36
7seal | 2.22 | Caulking |  | CFCI | 172 | ea | 28 | 4816
| 2.23 | DOORS
8shower d | 2.24 | Install new OF shower doors | PL-700-CUST | OFCI | 153 | ea | 235 | 35955
| 2.25 | MILLWORK
6mill | 2.26 | F/I new vanity doors fronts, drawers and hardware | WF-001 | CFCI | 164 | ea | 445 | 72980 | $300 50West, deliveried, Installed
6mill | 2.27 | Install new OF vinyl base at vanity toe-kick - OFCI per RFI dated 7/10/24 | RB-004 | OFCI | 172 | ea | 15 | 2580
6mill | 2.28 | At ADA rooms: F/I new vanity cabinet boxes, doors fronts, drawers and hardware - confirmed per RFI dated 7/10/24 |  | CFCI | 8 | ea | 445 | 3560 | $300 50West, deliveried, Installed
6ctop | 2.29 | F/I new vanity quartz top, side and backsplash | CT-003 | CFCI | 172 | ea | 445 | 76540 | $250 TPS, deliveried, no Install
| 2.30 | ELECTRICAL
16deco | 2.31 | Install new OF lighted mirror at vanity - provide new j-box (add switch as needed) |  | OFCI | 172 | ea | 125 | 21500
16deco | 2.32 | Install new OF bath decorative ceiling light - (Per Elect Draw: Coordinate accessible location in field with architect for fixrure ALR-031 remote driver) |  | OFCI | 172 | ea | 60 | 10320
| 2.33 | All cover plates,outlets, switches, data, cable ETR per RFI dated 7/10/24 |  | ETR |  |  |  | ETR
| 2.34 | PLUMBING
15pl | 2.35 | Tub to shower conversions (153) - Plumbing Labor |  | CFCI | 153 | ea | 790 | 120870
| 2.36 | Install new OF shower pan, drain | PL-605 | OFCI | 153 | ea |  | Included above
| 2.37 | Install new OF shower plumbing fixtures (mixing valve, trim, shower head/arm/flange, etc) | PL-803, PL-402 | OFCI | 153 | ea |  | Included above
15pl | 2.38 | Tub rooms (11) - Plumbing Labor |  | CFCI | 11 | ea | 645 | 7095
| 2.39 | Install new OF bath tub, overflow drain | PL-601 | OFCI | 11 | ea |  | Included above
| 2.40 | Install new OF tub plumbing fixtures (mixing valve, trim, spout, shower head/arm/flange, etc) | PL-801, PL-402 | OFCI | 11 | ea |  | Included above
15pl | 2.41 | ADA Tub rooms (6) - Plumbing Labor |  | CFCI | 6 | ea | 900 | 5400
| 2.42 | Install new OF bath tub, overflow drain | PL-601 | OFCI | 6 | ea |  | Included above
| 2.43 | Install new OF tub plumbing fixtures (mixing valve, trim, spout, shower head/arm/flange, hand held shower/slide bar, etc) | PL-803, PL-402, PL-405 , PL-501 | OFCI | 6 | ea |  | Included above
15pl | 2.44 | ADA RIS rooms (2) - Plumbing Labor |  | CFCI | 2 | ea | 900 | 1800
| 2.45 | Install new OF shower drain |  | OFCI | 2 | ea |  | Included above
| 2.46 | Install new OF shower plumbing fixtures (mixing valve, trim, shower head/arm/flange, hand held shower/slide bar, etc) | PL-803, PL-402, PL-405 , PL-501 | OFCI | 2 | ea |  | Included above
15pl | 2.47 | Install new OF vanity faucet, sink & SS water lines (existing vanity p-trap and angle stops to remain per RFI dated 7/10/24) F/I SS water lines, confirm if comes with faucets per call 7/24/2024 | PL-201, PL105 | OFCI | 172 | ea | 220 | 37840
15pl | 2.48 | F/I new vanity p-trap & angle stops at ADA rooms per RFI dated 7/10/24 |  | CFCI | 8 | ea | 85 | 680
15pl | 2.49 | Remove and reinstall existing toilet to allow for new floor tile installation - F/I new wax ring, bolts and supply lines (existing toilet angle stops to remain) |  | CFCI | 164 | ea | 80 | 13120
15pl | 2.50 | Install new OF toiles at ADA rooms | PL-300-CUST | OFCI | 8 | ea | 100 | 800
15pl | 2.51 | ADA - F/I pipe cover wrap as needed |  | CFCI | 8 | ea | 75 | 600
| 2.52 | Tub to shower conversions (153) - Concrete / X-ray - NOT REQUIRED | N/A |  |  |  |  | N/A
| 2.53 | Tub to shower conversions (153) - Firestop - NOT REQUIRED | N/A |  |  |  |  | N/A
| 2.54 | ACCESSORIES
10bacces | 2.55 | Install new OF accessories |  | OFCI | 172 | ea | 110 | 18920
| 2.56 | Install new OF vanity glass shelf | TA-301 | OFCI |  | ea |  | Included above
| 2.57 | Install new OF T/P holder | TA-202 | OFCI |  | ea |  | Included above
| 2.58 | Install new OF garment hook | X-510-CUST | OFCI |  | ea |  | Included above
| 2.59 | Install new OF robe hook | TA-401 | OFCI |  | ea |  | Included above
| 2.60 | Install new OF towel bar | TA-402-CUST | OFCI |  | ea |  | Included above
| 2.61 | Install new OF towel bar Towel rack per call 7/24/2024 | TA-403 | OFCI |  | ea |  | Included above
| 2.62 | Install new OF shower rod | TA-602/603 | OFCI |  | ea |  | Included above
| 2.63 | Install new OF grab bars at shower | TA-104 | OFCI |  | ea |  | Included above
| 2.64 | Install new OF shower soap dish | TA-501 | OFCI |  | ea |  | Included above
| 2.65 | Install new OF shampoo shelf | TA-503 | OFCI |  | ea |  | Included above
| 2.66 | Install new OF shower foot rest | TA-502 | OFCI |  | ea |  | Included above
| 2.67 | Install new OF grab bars at ADA and tub rooms | TA-105/106/107/108 | OFCI |  | ea |  | Included above
| 2.68 | Install new OF ADA tub seat | TA-703 | OFCI |  | ea |  | Included above
| 2.69 | Install new OF ADA shower seat | TA-701 | OFCI |  | ea |  | Included above
|  | Subtotal | [5 empty] | 793077.67
Hearing Impaired (14)
| 3.1 | F/I (14) new hearing impaired devices |  | CFCI | 14 | ea | 1750 | 24500
| 3.1 | Fire Alarm work BY OTHERS | BY OTHERS | OFOI |  |  |  | BY OTHERS
16HI |  | SUBTOTAL | [5 empty] | 24500
ADA
| 4.1 | Additional demo at room type T |  | CFCI | 4 | ea | 1200 | 4800
| 4.2 | Additional demo at room type G |  | CFCI | 1 | ea | 2000 | 2000
| 4.3 | F/I new bathroom door, frame and hardware at room type T |  | CFCI | 4 | ea | 1000 | 4000 | 488
| 4.4 | F/I new bathroom door, frame and hardware at room type G |  | CFCI | 1 | ea | 1000 | 1000 | 488
| 4.5 | F/I new bedroom door, frame and hardware at room type T & G |  | CFCI | 5 | ea | 1000 | 5000 | 488
| 4.6 | Remove and reinstall existing entry door, frame and hardware in new location at room type G |  | CFCI | 1 | ea | 1000 | 1000
| 4.7 | Build new GWB wall at room type T |  | CFCI | 4 | ea | 2000 | 8000
| 4.8 | Build new GWB wall at room type G |  | CFCI | 1 | ea | 3000 | 3000
| 4.9 | Patch ceiling as needed due to new wall layout |  | CFCI | 5 | ea | 1000 | 5000
| 4.10 | Concrete in room type G due to bathroom plumbing reconfiguration |  | CFCI | 1 | ea | 500 | 500
| 4.11 | Additional plumbing rework at room type T due to new vanity location |  | CFCI | 4 | ea | 1300 | 5200
| 4.12 | Additional plumbing rework at room type G due to new vanity location |  | CFCI | 1 | ea | 2500 | 2500
| 4.13 | Additional electrical rework at room type T due to new vanity location |  | CFCI | 4 | ea | 1500 | 6000
| 4.14 | Additional electrical rework at room type G due to new vanity location |  | CFCI | 1 | ea | 2500 | 2500
| 4.15 | Sprinkler rework if needed |  | CFCI | 5 | AL | 1500 | 7500
| 4.16 | Finishes |  | CFCI | 8 | ea | 1000 | 8000
| 4.17 | Fire Alarm work if any BY OTHERS | BY OTHERS | OFOI |  |  |  | BY OTHERS
ADA |  | Subtotal | [5 empty] | 66000
CORRIDORS
| 5.1 | DEMO/CLEANING
2demo | 5.2 | Demo |  | CFCI | 7 | ea | 1300 | 9100
2clean | 5.3 | Cleaning Fee |  | CFCI | 7 | ea | 325 | 2275
| 5.4 | FLOORING / BASE
9cpt | 5.5 | Install new OF carpet & pad |  | OFCI | 1713 | sy | 12 | 20556
9cpt | 5.6 | Install new OF carpet base | PG-001B | OFCI | 3856 | lf | 1.15 | 4434.4
9cpt | 5.7 | F/I new stairwell door threshold | TH-010-CUST | CFCI | 15 | ea | 50 | 750 | 35
| 5.8 | GWB
9wallprep | 5.9 | Wall prep 10% at VWC areas Included |  | CFCI | 3208 | sf | 2 | 6416
10act | 5.10 | Replace any damaged or stained ACT - Allowance of 5-10% per RFI dated 7/10/24 |  | CFCI | 1541 | sf | 7.95 | 12250.95 | 3.95
| 5.11 | PAINT / VWC
9vwc | 5.12 | Install new OF VWC (accent & main) | V-363/361 | OFCI | 2567 | ly | 10 | 25670
9pnt | 5.13 | Paint corridor/service/stair doors and frame |  | CFCI | 55 | ea | 80 | 4400
9pnt | 5.14 | Paint all hard ceilings |  | CFCI | 7 | ea | 700 | 4900
9pnt | 5.15 | Paint existing painted grills, diffusers, & fire extinguisher cabinets if needed |  | CFCI | 7 | ea | 200 | 1400
7seal | 5.16 | Caulking |  | CFCI | 7 | ea | 325 | 2275
| 5.17 | FF&E / SIGNAGE
12ff&e | 5.18 | Install new OF FF&E |  | OFCI | 7 | ea | 250 | 1750
10sign | 5.19 | Remove and reinstall existing signage |  | OFCI | 7 | ea | 250 | 1750
10cg | 5.20 | Install new OF corner guards |  | OFCI | 473 | ea | 15 | 7095
| 5.21 | ELECTRICAL
16deco | 5.22 | Install new OF wall sconces | PG-401 | OFCI | 12 | ea | 60 | 720
16deco | 5.23 | Install new OF decorative ceiling fixture | PG-400 | OFCI | 117 | ea | 60 | 7020
16arch | 5.24 | Elevator - Install new OF LED can light bulb at existing recessed lights - OFCI per RFI dated 7/10/24 - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-030 | OFCI | 48 | ea | 15 | 720
16sensor | 5.25 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 78 | ea | 100 | 7800
| 5.26 | STAIRWELLS
9pnt | 5.27 | Paint Stairwell walls |  | CFCI | 2 | ea | 3000 | 6000
9pnt | 5.28 | Paint Stairwells (including safety striping at noses per code per RFI dated 7/10/24) |  | CFCI | 2 | ea | 2600 | 5200
9pnt | 5.29 | Paint handrails and stringers in stairwells |  | CFCI | 2 | ea | 2000 | 4000
9cpt | 5.30 | Install new OF carpet and carpet base on 2nd floor only | OA-001/001B | OFCI | 65 | sy | 20 | 1300
| 5.31 | ELEVATORS
| 5.32 | All elevator finishes BY OTHERS- See alternate #5, #6, #7 & #8 per call 7/24/24 | BY OTHERS | OFOI |  |  |  | BY OTHERS
|  | Subtotal | [5 empty] | 137782.35
15spr |  | Sprinkler work to be included in bid per RFI dated 7/10/24 |  | CFCI | 1 | ea | 142975 | 142975 | 125975
House |  | Housing |  | CFCI | 6 | months | 18000 | 108000
|  | Warehousing for OF FF&E BY OWNER | [5 empty] | BY OWNNER
|  | SUBTOTAL | [5 empty] | 2287289.12
CG |  | General Conditions | Included |  |  |  | 8% | 182983.1296 | -44.8004
Fee |  | Overhead and Profit | Included |  |  |  | 8% | 197621.78 | -48.38
|  | TOTAL GUESTROOMS & CORRIDORS | 2667894.0296 |  |  |  |  | 2667894.0296 | -653.1804
[7 empty] | dif | 0
Public Space
|  | Scope | Spec | By | Qty |  | Price | Total
LOBBY
| 6.1 | DEMO/CLEANING/PROTECTION
2demo | 6.2 | Demo |  | CFCI | 1 | ea | 5500 | 5500
2clean | 6.3 | Cleaning |  | CFCI | 1 | ea | 1000 | 1000
2demo | 6.4 | Remove and discard fireplace |  | CFCI | 1 | ea | 1500 | 1500
2demo | 6.5 | Protect existing to remain wall tile at elevator lobby entry on 7th, 2nd and 1st floor, garage lobby level and at vestibue |  | CFCI | 1 | ea | 800 | 800
| 6.6 | FLOORING/BASE
3conc | 6.7 | Concrete as needed |  | CFCI | 1 | ea | 1500 | 1500
9cpt | 6.8 | Install OF carpet, carpet pad and walk off carpet |  | OFCI | 112 | sy | 12 | 1344
9tile | 6.9 | Install OF floor tile | TF-001 | OFCI | 2690 | sf | 7.15 | 19233.5
6carp | 6.10 | F/I new wood base - ETR per call 07-24-2024 | WB-001 | CFCI | 481 | lf | 4 | 1924 | 4.69
9tile | 6.11 | F/I new floor transition | TS-001 | CFCI | 104 | lf | 7.08 | 736.32 | 3.08
9tile | 6.12 | Garage Lobby - Install OF floor tile | TF-001 | OFCI | 653 | sf | 7.15 | 4668.95
6carp | 6.13 | Garage Lobby - F/I new wood base - ETR per call 07-24-2024 | WB-001 | CFCI | 162 | lf | 4 | 648 | 4.69
9cpt | 6.14 | Garage Lobby - Install OF carpet pad and carpet | LM-005 | OFCI | 10 | sy | 12 | 120
9cpt | 6.15 | Garage Lobby - F/I new floor transition | TS-001 | CFCI | 16 | lf | 7.08 | 113.28 | 3.08
| 6.16 | DRYWALL/WALL PREP
9wallprep | 6.17 | Wall prep 10% at VWC areas Included |  | CFCI | 495 | sf | 1.43 | 707.85
9gwb | 6.18 | Build new GWB wall at lobby lounge and market per drawings |  | CFCI | 276 | sf | 15 | 4140
9gwb | 6.19 | Patch GWB ceiling due to new wall lay-out |  | CFCI | 1 | sf | 2500 | 2500
6blocking | 6.20 | Blocking as needed |  | CFCI | 1 | ea | 1000 | 1000
| 6.21 | PAINT / VWC
9pnt | 6.22 | Paint hard ceilings |  | CFCI | 4016 | sf | 1.5 | 6024
9pnt | 6.23 | Paint selected walls and hight soffit side walls |  | CFCI | 1 | ea | 1500 | 1500
9vwc | 6.24 | Install new OF VWC |  | OFCI | 398 | ly | 10.5 | 4179
9pnt | 6.25 | Paint doors and frame |  | CFCI | 7 | ea | 100 | 700
9pnt | 6.26 | Paint new existing wood base- per call 07-24-2024 |  | CFCI | 643 | lf | 2 | 1286
10cg | 6.27 | Install new OF corner guards | CGR-002 | OFCI | 1 | LS | 500 | 500
7seal | 6.28 | Caulking |  | CFCI | 1 | ea | 500 | 500
| 6.29 | MILLWORK/STONE
6mill | 6.30 | Front Desk - Relaminate existing | SP-001, LA-001 | CFCI | 2 | ea | 4500 | 9000 | $3,500 50West, deliveried, Installed
6ctop | 6.31 | F/I new Front Desk counter top | CT-006 | CFCI | 2 | ea | 3342 | 6684 | $1,342 TPS, deliveried, no Install
6mill | 6.32 | F/I new Market millwork and island millwork | SP-001/008, LA-001, MT-001, MH-002/005/009/014 | CFCI | 1 | ea | 14550 | 14550 | $11,550 50West, deliveried, Installed
6mill | 6.33 | F/I new Market screen | SP-004, MT-002 | CFCI | 1 | ea | 1000 | 1000 | Included Above
6ctop | 6.34 | F/I new Market and island counter top | CT-002 | CFCI | 1 | ea | 2500 | 2500 | $925 TPS, deliveried, no Install
6mill | 6.35 | Valet Stand - F/I new millwork | SP-001, LA-001 | CFCI | 1 | ea | 4500 | 4500 | $3,500 50West, deliveried, Installed
6ctop | 6.36 | Valet Stand - F/I new counter top | CT-006 | CFCI | 1 | ea | 2500 | 2500 | $1,342 TPS, deliveried, no Install
6mill | 6.37 | F/I new registration back feature wall (mosaic wood panel) | SP-003 | CFCI | 120 | sf | 80 | 9600 | $7,100 50West, deliveried, Installed
6mill | 6.38 | F/I new elevator lobby feature wall at garage lobby level | SP-005 | CFCI | 64 | sf | 70 | 4480 | $3,600 50West, deliveried, Installed
| 6.39 | EQUIPMENT
11equ | 6.40 | Install new OF Market Equipments | EQF-626/621/627 | OFCI | 1 | ea | 1000 | 1000
| 6.41 | DOORS
8d | 6.42 | F/I new door, frame and hardware at new storage room (formet market) |  | CFCI | 1 | es | 1254 | 1254 | 754
| 6.43 | FF&E
12ff&e | 6.44 | Install OF FF&E |  | OFCI | 1 | ea | 3000 | 3000
12ff&e | 6.45 | Install OF TVs |  | OFCI | 3 | ea | 150 | 450
10sign | 6.46 | Install OF signage |  | OFCI | 1 | ea | 500 | 500
| 6.47 | Window tratment BY OTHERS | BY OTHERS | OFOI |  |  |  | BY OTHERS
| 6.48 | ELECTRICAL
16deco | 6.49 | Install OF decorative ceiling lighting | LM-416 | OFCI | 3 | ea | 150 | 450
16deco | 6.50 | Install OF wall sconce | LM-401 | OFCI | 3 | ea | 100 | 300
16deco | 6.51 | Install OF wall sconce | ALY-043-CUST | OFCI | 2 | ea | 100 | 200
16arch | 6.52 | Install new OF recessed light - OFCI per RFI dated 7/10/24 - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-073 | OFCI | 52 | ea | 100 | 5200
16arch | 6.53 | Install new OF recessed light - OFCI per RFI dated 7/10/24 - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-030 | OFCI | 5 | ea | 100 | 500
16dimm | 6.54 | Programable Lighting Controls - ADD DIMMER SWITCH ONLY |  | CFCI | 1 | ea | 1000 | 1000
16 elect | 6.55 | Electrical work per drawings- Updated per drawings dated 09-18-2024 |  | CFCI | 1 | ea | 11000 | 11000
16sensor | 6.56 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 14 | ea | 100 | 1400
| 6.57 | OTHERS
15hvac | 6.58 | F/I new Air cooled Packaged air conditioning units VHP-1, VHP-2, VHP-3 at Public Areas and ductwork/diffusers rework per drawings - CFCI per RFI dated 7/10/24 |  | CFCI | 1 | ea | 75910 | 75910 | 75910
|  | Subtotal | [5 empty] | 219102.9
BREAKFAST AREA
| 7.1 | DEMO/CLEANING
2demo | 7.2 | Demo / Prep room equipment removal and reinstallation |  | CFCI | 1 | ea | 4500 | 4500
2clean | 7.3 | Cleaning |  | CFCI | 1 | ea | 1000 | 1000
| 7.4 | Remove fireplace only if removal of 1st floor fireplace - Existing to remain per RFI dated 7/10/24 | ETR | ETR |  |  |  | ETR
| 7.5 | FLOORING/BASE
9cpt | 7.6 | Install OF carpet pad and carpet | MR-001ALT2 | OFCI | 285 | sy | 12 | 3420
6carp | 7.7 | F/I new wood base - ETR per call 07-24-2024 | WB-001 | CFCI | 342 | lf | 4 | 1368 | 4.69
9tile | 7.8 | Install OF floor tile at buffet | TF-001 | OFCI | 230 | sf | 8 | 1840
9tile | 7.9 | Install OF tile base at buffet | TB-002/TB-003 | OFCI | 75 | lf | 3 | 225
9tile | 7.10 | Install new OF buffet backsplash wall tile | TW-006 | OFCI | 80 | sf | 8 | 640
9tile | 7.11 | Install OF floor tile at prep room | TF-008 | OFCI | 260 | sf | 15 | 3900
9tile | 7.12 | Install OF tile base at prep room | TB-008 | OFCI | 80 | lf | 10 | 800
9tile | 7.13 | F/I new floor transition strip | TS-001 | CFCI | 16 | lf | 7.08 | 113.28 | 3.08
9tile | 7.14 | F/I new door threshold between buffet and prep room | TH-010-CUST | CFCI | 1 | ea | 100 | 100 | 35
| 7.15 | DRYWALL/WALL PREP
9wallprep | 7.16 | Wall prep 10% at VWC areas Included - see Qualifications |  | CFCI | 310 | sf | 1.43 | 443.3
6blocking | 7.17 | Blocking |  | CFCI | 1 | ea | 500 | 500
9gwb | 7.18 | Patch GWB wall/ceiling as needed |  | CFCI | 1 | sf | 2000 | 2000
9gwb | 7.19 | Repair after media wall removal |  | CFCI | 2 | ea | 400 | 800
10act | 7.20 | F/I new ACT and grid at back of house kitchen - per drawings replace as needed - need to verify - Allowance | TC-002 | CFCI | 260 | sf | 15 | 3900 | 8.52
| 7.21 | PAINT / VWC
9pnt | 7.22 | Paint ceilings |  | CFCI | 1898 | sf | 1.5 | 2847
9pnt | 7.23 | Paint selected walls and hight soffit side walls |  | CFCI | 1 | ea | 1000 | 1000
9pnt | 7.24 | Paint new existing wood base- per call 07-24-2024 |  | CFCI | 342 | ea | 2 | 684
9vwc | 7.25 | Install new OF VWC |  | OFCI | 218 | ly | 10.5 | 2289
9pnt | 7.26 | Paint doors and frame |  | CFCI | 5 | ea | 100 | 500
9pnt | 7.27 | Paint existing wood valances |  | CFCI | 10 | ea | 100 | 1000
7seal | 7.28 | Caulking |  | CFCI | 1 | ea | 500 | 500
| 7.29 | MILLWORK/STONE
6mill | 7.30 | F/I new breakfast room millwork by window |  | CFCI | 1 | ea | 3250 | 3250 | 2500
6ctop | 7.31 | F/I new breakfast room countertop by window |  | CFCI | 1 | ea | 4000 | 4000 | TBD
6mill | 7.32 | Existing buffet Millwork screen to remain per RFI dated 7/10/24 See alternate #10 per call 7-24-2024 | ETR | ETR | 1 | ea | 1500 | 1500 | TBD
6mill | 7.33 | F/I new buffett millwork & hardware Updated cost per drawings dated 09-18-2024 | SP-001 | CFCI | 1 | ea | 28000 | 28000 | $14,000 50West, deliveried, Installed
6ctop | 7.34 | F/I new buffett quartz counter top Updated cost per drawings dated 09-18-2024 | CT-002 | CFCI | 1 | ea | 10600 | 10600 | $4,200 TPS, deliveried, no Install
6mill | 7.35 | Install new OF buffett sneeze guard See alternate #11 per call 7-24-2024 |  | OFCI | 1 | ea | 800 | 800
| 7.36 | FF&E / EQUIPMENTS
12ff&e | 7.37 | Install OF FF&E |  | OFCI | 1 | ea | 2300 | 2300
10sign | 7.38 | Install Owner Supplied directional signage Protect and reinstall existing per call 07-24-2024 |  | OFCI | 1 | ea | 50 | 50
12ff&e | 7.39 | Install new OF TVs |  | OFCI | 1 | ea | 150 | 150
11equ | 7.40 | Install OF Kitchen Equipment Protect and reinstall existing per call 07-24-2024 |  | OFCI | 1 | ea | 1500 | 1500
| 7.41 | New roller shades w/ valance BY OTHERS | BY OTHERS | OFOI |  |  |  | BY OTHERS
| 7.42 | ELECTRICAL
16deco | 7.43 | Install OF decorative ceiling pendant lighting | LM-404 | OFCI | 2 | ea | 150 | 300
16deco | 7.44 | Install OF decorative ceiling pendant lighting | LM-417 | OFCI | 5 | ea | 150 | 750
16deco | 7.45 | Install OF decorative wall sconce | PG-401 | OFCI | 3 | ea | 100 | 300
16arch | 7.46 | Install new OF LED can light bulb at existing recessed lights - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-030 | OFCI | 2 | ea | 100 | 200
16arch | 7.47 | Install new OF recessed lights or relocate - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-043R | OFCI | 13 | ea | 100 | 1300
16arch | 7.48 | Install new OF recessed lights or relocate - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-043N | OFCI | 8 | ea | 100 | 800
16dimm | 7.49 | Dimming System | ALLOWANCE | CFCI | 1 | AL | 2000 | 2000
16 elect | 7.50 | Electrical work per drawings |  | CFCI | 1 | ea | 4000 | 4000
16sensor | 7.51 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 11 | ea | 100 | 1100
16sensor | 7.52 | F/I new photocell sensor- Per email 08-12-2024 | PS | CFCI | 3 | ea | 100 | 300
|  | Subtotal | [5 empty] | 97569.58
MEETING ROOM
| 8.1 | DEMO/CLEANING
2demo | 8.2 | Demo |  | CFCI | 1 | ea | 300 | 300
2clean | 8.3 | Cleaning |  | CFCI | 1 | ea | 80 | 80
| 8.4 | FLOORING/BASE
9cpt | 8.5 | Install OF carpet pad and carpet | MR-001ALT1 | OFCI | 56 | sy | 12 | 672
6carp | 8.6 | F/I new wood base - ETR per call 07-24-2024 | WB-001 | CFCI | 85 | lf | 4 | 340 | 4.69
9cpt | 8.7 | F/I new door threshold |  | CFCI | 1 | ea | 100 | 100 | TBD
| 8.8 | DRYWALL/WALL PREP
9wallprep | 8.9 | Wall prep 10% at VWC areas Included |  | CFCI | 70 | sf | 1.43 | 100.1
10act | 8.10 | Replace any damaged or stained ACT - allowance of 5-10% per RFI dated 7/10/24 | TC-001 | CFCI | 34 | sf | 7.95 | 270.3 | 3.95
| 8.11 | PAINT / VWC
9pnt | 8.12 | Paint ceilings |  | CFCI | 275 | sf | 1.5 | 412.5
9vwc | 8.13 | Install new OF VWC |  | OFCI | 55 | ly | 12 | 660
9pnt | 8.14 | Paint doors and frame |  | CFCI | 1 | ea | 200 | 200
9pnt | 8.15 | Paint new existing wood base- per call 07-24-2024 |  | CFCI | 85 | ea | 2 | 170
7seal | 8.16 | Caulking |  | CFCI | 1 | ea | 100 | 100
| 8.17 | MILLWORK/STONE
6mill | 8.18 | F/I new service bar millwork | SP-001, LA-001 | CFCI | 1 | ea | 5100 | 5100 | $4,100 50West, deliveried, Installed
6ctop | 8.19 | F/I new quartz bar counter top | CT-002 | CFCI | 1 | ea | 1522 | 1522 | $522 TPS, deliveried, no Install
| 8.20 | FF&E / EQUIPMENTS
12ff&e | 8.21 | Install OF FF&E - Meeting table to remain. Protect and reinstall per call 07-24-2024 |  | OFCI | 1 | ea | 455 | 455
10sign | 8.22 | Install OF or reinstall existing signage |  | OFCI | 1 | ea | 45 | 45
12ff&e | 8.23 | Install new OF TVs |  | OFCI | 1 | ea | 150 | 150
| 8.24 | ELECTRICAL
16arch | 8.25 | Remove existing flourescent and replace with LED - see Qualifications (all architectural lighting OFCI) See #9 per call 7/24/24 alternate | ALB-012 | OFCI | 6 | ea | 100 | 600
16arch | 8.26 | New recessed light - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-043N | OFCI | 10 | ea | 100 | 1000
16sensor | 8.27 | F/I new vacancy sensor- Per email 08-12-2024 | PS | CFCI | 1 | ea | 100 | 100
|  | Subtotal | [5 empty] | 12376.9
PUBLIC RESTROOMS (2ND FLOOR)
| 9.1 | DEMO/CLEANING
2demo | 9.2 | Demo |  | CFCI | 2 | ea | 550 | 1100
2clean | 9.3 | Cleaning |  | CFCI | 2 | ea | 100 | 200
| 9.4 | FLOORING/BASE
9tile | 9.5 | Install OF floor tile | TF-001 | OFCI | 278 | sf | 8 | 2224
9tile | 9.6 | Install OF tile base | TB-005 | OFCI | 89 | lf | 4 | 356
9tile | 9.7 | Install OF wall tile at wet wall | TW-007 | OFCI | 90 | sf | 8 | 720
9tile | 9.8 | F/I new door threshold | TH-010-CUST | CFCI | 2 | ea | 100 | 200 | 35
9tile | 9.9 | F/I new trim between wall tile & VWC | TS-001 | CFCI | 16 | lf | 7.08 | 113.28 | 3.08
| 9.10 | DRYWALL/WALL PREP
9wallprep | 9.11 | Wall prep 10% at VWC areas Included |  | CFCI | 70 | sf | 1.43 | 100.1
| 9.12 | PAINT / VWC
9pnt | 9.13 | Paint ceilings |  | CFCI | 2 | ea | 200 | 400
9pnt | 9.14 | Paint all previously painted surfaces to include trim, grills, vents etc. |  | CFCI | 2 | ea | 100 | 200
9vwc | 9.15 | Install new OF VWC |  | OFCI | 54 | ly | 10.5 | 567
9pnt | 9.16 | Paint doors and frame |  | CFCI | 2 | ea | 100 | 200
7seal | 9.17 | Caulking |  | CFCI | 2 | ea | 60 | 120
| 9.18 | MILLWORK/STONE
6mill | 9.19 | F/I new vanity wood apron and removable panel | PL-10, FRP-01 | CFCI | 2 | ea | 2680 | 5360 | $1,980 50West, deliveried, Installed
6ctop | 9.20 | F/I new vanity top | CT-006 | CFCI | 2 | ea | 1400 | 2800 | $800 TPS, deliveried, no Install
10t-part | 9.21 | F/I new toilet partitions | LA-006 | CFCI | 2 | ea | 2250 | 4500 | $1,750 50West, deliveried, Installed
| 9.22 | ACCESSORIES
10bacces | 9.23 | Install new OF accessories |  | OFCI | 2 | ea | 250 | 500
| 9.24 | Existing feminine protection receptacles to remain |  | ETR |  |  |  | ETR
| 9.25 | PLUMBING
15pl | 9.26 | Install OF vanity sink - OFCI per RFI dated 7/10/24 | PL-103 | OFCI | 4 | ea | 130 | 520
15pl | 9.27 | Install OF automated vanity faucet - OFCI per RFI dated 7/10/24 | PL-201 | OFCI | 4 | ea | 130 | 520
15pl | 9.28 | Install OF automated vanity soap dispenser - OFCI per RFI dated 7/10/24 | TA-803-CUST | OFCI | 4 | ea | 130 | 520
15pl | 9.29 | Remove and reinstall existing toilets to allow for new tile installation |  | CFCI | 3 | ea | 130 | 390
15pl | 9.30 | Remove and reinstall existing urinals to allow for new tile installation |  | CFCI | 1 | ea | 130 | 130
| 9.31 | FF&E / EQUIPMENTS
12ff&e | 9.32 | Install new OF vanity mirror | TA-302 | OFCI | 4 | ea | 100 | 400
| 9.33 | ELECTRICAL
16deco | 9.34 | Install new OF vanity lighting | PR-412 | OFCI | 4 | ea | 100 | 400
16arch | 9.35 | Install new OF recessed light - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-030 | OFCI | 5 | ea | 100 | 500
16sensor | 9.36 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 2 | ea | 100 | 200
|  | Subtotal | [5 empty] | 23240.38
PUBLIC RESTROOMS (1ST FLOOR)
| 10.1 | DEMO/CLEANING
2demo | 10.2 | Demo |  | CFCI | 2 | ea | 350 | 700
2clean | 10.3 | Cleaning |  | CFCI | 2 | ea | 70 | 140
| 10.4 | FLOORING/BASE
9tile | 10.5 | Install OF floor tile | TF-001 | OFCI | 110 | sf | 8 | 880
9tile | 10.6 | Install OF tile base | TB-005 | OFCI | 48 | lf | 4 | 192
9tile | 10.7 | Install OF wall tile at wet wall | TW-007 | OFCI | 70 | sf | 8 | 560
9tile | 10.8 | F/I new trim between wall tile & VWC | TS-001 | CFCI | 16 | lf | 7.08 | 113.28 | 3.08
| 10.9 | DRYWALL/WALL PREP
9wallprep | 10.10 | Wall prep 10% at VWC areas Included |  | CFCI | 35 | sf | 1.43 | 50.05
| 10.11 | PAINT / VWC
9pnt | 10.12 | Paint ceilings |  | CFCI | 2 | ea | 120 | 240
9pnt | 10.13 | Paint all previously painted surfaces to include trim, grills, vents etc. |  | CFCI | 2 | ea | 50 | 100
9vwc | 10.14 | Install new OF VWC |  | OFCI | 27 | ly | 10.5 | 283.5
9pnt | 10.15 | Paint doors and frame |  | CFCI | 2 | ea | 100 | 200
7seal | 10.16 | Caulking |  | CFCI | 2 | ea | 55 | 110
| 10.17 | MILLWORK/STONE
6mill | 10.18 | F/I new vanity wood apron and removable panel | PL-10, FRP-01 | CFCI | 2 | ea | 1550 | 3100 | $1,050 50West, deliveried, Installed
6ctop | 10.19 | F/I new vanity top | CT-006 | CFCI | 2 | ea | 800 | 1600 | $400 TPS, deliveried, no Install
| 10.20 | ACCESSORIES
10bacces | 10.21 | Install new OF accessories |  | OFCI | 2 | ea | 200 | 400
| 10.22 | Existing feminine protection receptacles to remain |  | ETR |  |  |  | ETR
| 10.23 | PLUMBING
15pl | 10.24 | Install OF vanity sink - OFCI per RFI dated 7/10/24 | PL-103 | OFCI | 2 | ea | 100 | 200
15pl | 10.25 | Install OF automated vanity faucet - OFCI per RFI dated 7/10/24 | PL-201 | OFCI | 2 | ea | 100 | 200
15pl | 10.26 | Install OF automated vanity soap dispenser - OFCI per RFI dated 7/10/24 | TA-803-CUST | OFCI | 2 | ea | 100 | 200
15pl | 10.27 | Remove and reinstall existing toilets to allow for new tile installation |  | CFCI | 2 | ea | 100 | 200
| 10.28 | FF&E / EQUIPMENTS
12ff&e | 10.29 | Install new OF vanity mirror | TA-302 | OFCI | 2 | ea | 100 | 200
| 10.30 | ELECTRICAL
16deco | 10.31 | Install new OF vanity lighting | PR-412 | OFCI | 2 | ea | 100 | 200
16arch | 10.32 | Install new OF recessed light - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-030 | OFCI | 2 | ea | 100 | 200
|  | Subtotal | [5 empty] | 10068.83
GUEST LAUNDRY
| 11.1 | DEMO/CLEANING
2demo | 11.2 | Demo |  | CFCI | 1 | ea | 550 | 550
2clean | 11.3 | Cleaning Fee |  | CFCI | 1 | ea | 150 | 150
| 11.4 | FLOORING/BASE
9tile | 11.5 | Install new OF floor tile | RF-002 | OFCI | 225 | sf | 8 | 1800
9tile | 11.6 | Install new OF tile base | RB-001 | OFCI | 65 | lf | 4 | 260
9tile | 11.7 | F/I new floor transition | TS-001 | CFCI | 4 | lf | 7.08 | 28.32 | 3.08
| 11.8 | GWB
9wallprep | 11.9 | Wall prep 10% at VWC areas Included |  | CFCI | 52 | sf | 1.43 | 74.36
10act | 11.10 | F/I new ACT and grid - confirmed per RFI dated 7/10/24 | TC-001 | CFCI | 220 | sf | 11.95 | 2629 | 3.95
| 11.11 | WALLS
9vwc | 11.12 | Install new OF VWC |  | OFCI | 42 | ly | 10.5 | 441
9pnt | 11.13 | Paint door and frame |  | CFCI | 1 | ea | 100 | 100
7seal | 11.14 | Caulking |  | CFCI | 1 | ea | 100 | 100
| 11.15 | FF&E / SIGNAGE/EQUIPMENT
10sign | 11.16 | Install new OF signage- Remove and reinstall per call 07-24-2024 |  | OFCI | 1 | ea | 75 | 75
12ff&e | 11.17 | Remove and reinstall existing equipment to allow for new floor tile |  | CFCI | 1 | ea | 600 | 600
| 11.18 | MILLWORK
6mill | 11.19 | F/I new millwork counter | LA-002 | CFCI | 1 | ea | 1060 | 1060 | $560 50West, deliveried, Installed
| 11.20 | LIGHTING
16arch | 11.21 | Remove existing flourescent and replace with LED (4X2) - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALB-14 | OFCI | 2 | ea | 100 | 200
16sensor | 11.22 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 1 | ea | 100 | 100
|  | SUBTOTAL | [5 empty] | 8167.68
FITNESS
| 12.1 | DEMO/CLEANING
2demo | 12.2 | Demo |  | CFCI | 1 | ea | 1200 | 1200
2clean | 12.3 | Cleaning |  | CFCI | 1 | ea | 300 | 300
| 12.4 | FLOORING/BASE
9lvt | 12.5 | Install new OF flooring | RF-009 | OFCI | 860 | sf | 7 | 6020
9lvt | 12.6 | Install new OF rubber base | RB-003 | OFCI | 140 | lf | 3 | 420
9lvt | 12.7 | F/I new entry door threshold | TH-010-CUST | CFCI | 1 | ea | 100 | 100 | 35
9lvt | 12.8 | F/I new electrical room door transition | TS-001 | CFCI | 4 | lf | 7.07 | 28.28 | 3.08
| 12.9 | DRYWALL/WALL PREP
9wallprep | 12.10 | Wall prep 10% at VWC areas Included |  | CFCI | 140 | sf | 1.43 | 200.2
9gwb | 12.11 | Build new GWB wall |  | CFCI | 288 | sf | 14 | 4032
9gwb | 12.12 | Patch ceiling ceiling as needed |  | CFCI | 1 | ea | 1500 | 1500
| 12.13 | PAINT / VWC
9pnt | 12.14 | Paint ceilings |  | CFCI | 830 | ea | 1 | 830
9vwc | 12.15 | Install new OF VWC |  | OFCI | 112 | ly | 12 | 1344
9pnt | 12.16 | Paint doors and frame |  | CFCI | 2 | ea | 100 | 200
7seal | 12.17 | Caulking |  | CFCI | 1 | ea | 100 | 100
| 12.18 | DOOR
8glass | 12.19 | F/I new storefront window/door system and hardware | Type-A | CFCI | 1 | ea | 9870 | 9870 | $9,170 Installed
8glass | 12.20 | F/I new glass mirrored wall (@130 SF) | SP-006 | CFCI | 1 | ea | 6000 | 6000 | $5,200 Installed
| 12.21 | FF&E / EQUIPMENTS
| 12.22 | Fitness equipment BY OTHERS |  | OFOI |  |  |  | BY OTHERS
12ff&e | 12.23 | Install OF signage, artwork, TV |  | OFCI | 1 | ea | 400 | 400
12ff&e | 12.24 | Install new OF towel and trash unit See alternate #12 per call 07-24-2024 |  | OFCI | 1 | ea | 200 | 200
12ff&e | 12.25 | Install new OF Hydration station millwork - see Qualifications (OFCI per SOW) See alternate #13 per call 07-24-2024 | SP-001 | OFCI | 1 | ea | 500 | 500
12ff&e | 12.26 | Install new OF Hydration station counter top - see Qualifications (OFCI per SOW) See alternate #14 per call 07-24-2024 | CT-002 | OFCI | 1 | ea | 450 | 450
12ff&e | 12.27 | Install new OF Hydration station equipment - see Qualifications (OFCI per SOW) OFCI per call 07-24-2024 | WCR-01 | OFCI | 1 | ea | 300 | 300
| 12.28 | ELECTRICAL
16arch | 12.29 | Install new OF recessed light - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALR-074 | OFCI | 24 | ea | 100 | 2400
16 elect | 12.30 | Electrical work per drawings Updated per drawings dated 09-18-2024 |  | CFCI | 1 | ea | 5230 | 5230
16sensor | 12.31 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 1 | ea | 100 | 100
16sensor | 12.32 | F/I new photocell sensor- Per email 08-12-2024 | PS | CFCI | 2 | ea | 100 | 200
| 12.33 | PLUMBING
15pl | 12.34 | Plumbing rework as per drawings |  | CFCI | 1 | wa | 2000 | 2000
|  | Subtotal | [5 empty] | 43924.48
BOH
| 13.1 | DEMO/CLEANING
2demo | 13.2 | Demo |  | CFCI | 1 | ea | 1500 | 1500
2clean | 13.3 | Cleaning |  | CFCI | 1 | ea | 200 | 200
| 13.4 | FLOORING/BASE
9cpt | 13.5 | Install OF carpet and pad at back office | OA-001 | OFCI | 135 | sy | 12 | 1620
9cpt | 13.6 | Install OF carpet base at back office - per SOW paint existing wood base at back office - need to verify Confirmed per call 07-24-24 | OA-001B or Paint ETR base | OFCI | 339 | lf | 2 | 678
9lvt | 13.7 | Install OF vinyl flooring at back office (workroom) | RF-002 | OFCI | 148 | sf | 7 | 1036
9lvt | 13.8 | Install OF vinyl base at back office (workroom) | RB-001 | OFCI | 45 | lf | 2 | 90
9lvt | 13.9 | Install OF flooring at employee breakroom | RF-002 | OFCI | 496 | sf | 7 | 3472
9lvt | 13.10 | Install OF vinyl base at employee breakroom | RB-001 | OFCI | 102 | lf | 2 | 204
| 13.11 | DRYWALL/WALL PREP
10act | 13.12 | F/I new ACT at back office | TC-001 | CFCI | 124 | sf | 9.95 | 1233.8 | 3.95
10act | 13.13 | F/I new ACT at employee breakroom | TC-001 | CFCI | 53 | sf | 9.95 | 527.35 | 3.95
9wallprep | 13.14 | Wall prep 10% at VWC areas Included |  | CFCI | 342 | sf | 1.43 | 489.06
| 13.15 | PAINT / VWC
9vwc | 13.16 | Install new OF VWC at back office |  | OFCI | 274 | ly | 12 | 3288
9pnt | 13.17 | Paint walls at employee breakroom |  | CFCI | 784 | sf | 1.5 | 1176
9pnt | 13.18 | Paint doors and frame |  | CFCI | 9 | ea | 100 | 900
7seal | 13.19 | Caulking |  | CFCI | 1 | ea | 200 | 200
| 13.20 | PLUMBING
15pl | 13.21 | F/I new Electric water heater at Employee breakroom - CFCI per RFI dated 7/10/24 | EWH-1 | CFCI | 1 | ea | 3080 | 3080 | 1080
15pl | 13.22 | Employee breakroom - Install new OF kitchen sink, faucet, sink strainer | PL-202/104/102 | OFCI | 1 | ea | 500 | 500
15pl | 13.23 | Plumbing rework as per drawings |  | CFCI | 1 | wa | 3500 | 3500
| 13.24 | MILLWORK
6mill | 13.25 | Employee breakroom - F/I new kitchen cabinet and laminated countertops (drawer and door fronts to be painted PTW-022) | LA-002 | CFCI | 1 | ea | 8300 | 8300 | $7,000 50West, deliveried, Installed
| 13.26 | EQUIPMENTS
11equ | 13.27 | Employee breakroom - Install new OF equipment | ERA -002/012/011/003 | OFCI | 1 | ea | 500 | 500
| 13.28 | FF&E
12ff&e | 13.29 | Install new OF FF&E at back office Removed from scope per call 07-24-2024 |  | OFCI | 1 | ea | 100 | 100
10sign | 13.30 | Reinstall existing signage |  | OFCI | 1 | ea | 50 | 50
10cg | 13.31 | Install new OF corner guards |  | OFCI | 1 | LS | 200 | 200
| 13.32 | ELECTRICAL
16arch | 13.33 | Remove existing flourescent and replace with LED (2X2) - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALB-15 | OFCI | 7 | ea | 100 | 700
16arch | 13.34 | Remove existing flourescent and replace with LED (4X2) - see Qualifications (all architectural lighting OFCI) See alternate #9 per call 7/24/24 | ALB-14 | OFCI | 20 | ea | 100 | 2000
16 elect | 13.35 | Electrical work per drawings |  | CFCI | 1 | ea | 3560 | 3560
16sensor | 13.36 | F/I new occupancy sensor- Per email 08-12-2024 | OS | CFCI | 3 | ea | 100 | 300
16sensor | 13.37 | F/I new photocell sensor- Per email 08-12-2024 | PS | CFCI | 8 | ea | 100 | 800
|  | Subtotal | [5 empty] | 40204.21
PATIO
12ff&e | 14.1 | Install new OF FF&E |  | OFCI | 1 | ea | 500 | 500
5m | 14.2 | New gates at exterior patio per RFI dated 7/10/24 ALLOWANCE Updated per drawings dated 09-18-2024 | MG-001/002 | CFCI | 1 | AL | 5540 | 5540 | 3540
| 14.3 | Exterior Hardwired Light Fixture - Exterior spotlights change to LED BY OTHERS -See alternate #15 per call 07-24-2024 |  | OFOI |  |  |  | 0
| 14.4 | Fire-Pit (Permanent) BY OTHERS |  | OFOI |  |  |  | BY OTHERS
| 14.5 | Grill (Built-In) BY OTHERS |  | OFOI |  |  |  | BY OTHERS
| 14.6 | Patio Heaters BY OTHERS |  | OFOI |  |  |  | BY OTHERS
|  | Subtotal | [5 empty] | 6040
EXTERIOR
| 15.4 | Install new OF decorative hardwired lighting if not gas. Gas fixtures to stay BY OTHERS |  | OFOI |  | ea |  | BY OTHERS
15spr |  | Sprinkler work to be included in bid per RFI dated 7/10/24 |  | CFCI | 1 | ea | 17700 | 17700 | 12700
House |  | Housing |  | CFCI | 6 | months | 4000 | 24000
|  | Warehousing for OF FF&E BY OWNER | [5 empty] | BY OWNNER
|  | SUBTOTAL | [5 empty] | 502394.96
GC |  | General Conditions | Included |  |  |  | 8% | 40191.5968 | 1239.5968
Fee |  | Overhead and Profit | Included |  |  |  | 8% | 43406.9245 | 1338.7645
|  | TOTAL PUBLIC SPACE | 585993.4813 |  |  |  |  | 585993.4813
[7 empty] | dif | 0
|  | GRAND TOTAL | 3253887.5109 |  |  |  |  | 3253887.5109 | 17420.1809
[7 empty] | dif | 0
ALT
| ALT 1 | Paint building exterior front | 118750 | CFCI | 1 | ea | 95000 | 118750 | 62000 | 1.25
| ALT 2 | Paint railings at front guestroom balconies |  | CFCI | [5 empty] | 1.25
| ALT 3 | Paint fence at front courtyard |  | CFCI | [5 empty] | 1.25
| ALT 4 | Restripe parking areas - TBD. Price not available at time of bid. | TBD | CFCI | 1 | ea | TBD | TBD |  | 1.25
| ALT 5 | Install new OF flooring at elevators | 2437.5 | OFCI | 3 | ea | 650 | 2437.5 |  | 1.25
| ALT 6 | Install new OF elevator panels | 6750 | OFCI | 3 | ea | 1800 | 6750 |  | 1.25
| ALT 7 | Install new OF ceiling at elevators | 3375 | OFCI | 3 | ea | 900 | 3375 |  | 1.25
| ALT 8 | Install new OF lighting at elevators | 1687.5 | OFCI | 3 | ea | 450 | 1687.5 |  | 1.25
| ALT 9 | Furnish all OFCI architectural lighting in scope above (QTY:6 ALB-012, QTY:22 ALB-014, QTY: 7 ALB-015, QTY: 62 ALR-030, QTY: 31 ALR-043, QTY: 24 ALR-074) | 30518.75 | CFCI | 1 | lot | 24415 | 30518.75 |  | 1.25
| ALT 10 | Demo, F/I Millwork screen- Allowance. Need details/drawings and finishes- Per drawings dated 6/18/2024 | 28646.25 | CFCI | 1 | ea | 22917 | 28646.25 |  | 1.25
| ALT 11 | Furnish new buffett sneeze guard- Allowance. Need details/drawings and finishes Per drawings dated 6/18/2024 | 16037.5 | CFCI | 1 | ea | 12830 | 16037.5 |  | 1.25
| ALT 12 | Furnish new towel and trash unit at fitness room. | 4500 | CFCI | 1 | ea | 3600 | 4500 |  | 1.25
| ALT 13 | Furnish new Hydration station millwork at fitness room | 4750 | CFCI | 1 | ea | 3800 | 4750 |  | 1.25
| ALT 14 | Furnish new Hydration station counter top at fitness room | 1875 | CFCI | 1 | ea | 1500 | 1875 |  | 1.25
| ALT 15 | F/I Exterior Hardwired Light Fixture - Exterior spotlights change to LED - Allowance. Need details/specs. | 2937.5 | CFCI | 2 | ea | 1175 | 2937.5 |  | 1.25

## Sheet1
5.25 | Install new OF occupancy sensor | OS | OFCI | 78 | ea | 100 | 7800
6.56 | Install new OF occupancy sensor | OS | OFCI | 14 | ea | 100 | 1400
7.51 | Install new OF occupancy sensor | OS | OFCI | 11 | ea | 100 | 1100
7.52 | Install new OF photocell sensor | PS | OFCI | 3 | ea | 100 | 300
8.27 | Install new OF vacancy sensor | PS | OFCI | 1 | ea | 100 | 100
9.36 | Install new OF occupancy sensor | OS | OFCI | 2 | ea | 100 | 200
11.22 | Install new OF occupancy sensor | OS | OFCI | 1 | ea | 100 | 100
12.31 | Install new OF occupancy sensor | OS | OFCI | 1 | ea | 100 | 100
12.32 | Install new OF photocell sensor | PS | OFCI | 2 | ea | 100 | 200
13.36 | Install new OF occupancy sensor | OS | OFCI | 3 | ea | 100 | 300
13.37 | Install new OF photocell sensor | PS | OFCI | 8 | ea | 100 | 800

## Take-Off
Job Name: Residence Inn Atlanta Midtown
Finishes
| Room Type | Bath | QYT | Bath Floor Tile (SF) |  | Bath Tile Base (LF) |  | Vanity Rubber Base (LF) |  | Transition (LF) |  | Closet door |  | VWC at bath and vanity wall (LY) |  | Wall Paint Guest and closel/vanity area (SF) |  | Paint ETR Valance |  | dining high table |  | Bedroom doors |  | Raise power for TV |  | Relocate power for desk
1 | Studio A | SHR | 32 | 65 | 2080 | 25 | 800 | 5 | 160 | 4 | 128 | 1 | 32 | 13 | 416 | 720 | 23040 | 2 | 64 | 1 | 32 | 0 | 0 | 1 | 32 | 1 | 32 | 0 | 0 | 0
2 | 1 Bedroom B | SHR | 7 | 60 | 420 | 23 | 161 | 5 | 35 | 4 | 28 | 1 | 7 | 13 | 91 | 960 | 6720 | 2 | 14 | 0 | 0 | 1 | 7 | 2 | 14 | 1 | 7 | 0 | 0 | 0
3 | 1 Bedroom C | SHR | 3 | 65 | 195 | 26 | 78 | 5 | 4 | 4 | 12 | 1 | 3 | 13 | 39 | 960 | 2880 | 2 | 6 | 0 | 0 | 1 | 3 | 2 | 6 | 1 | 3 | 0 | 0 | 0
4 | Studio D | SHR | 14 | 60 | 840 | 25 | 350 | 4 | 56 | 4 | 56 | 1 | 14 | 13 | 182 | 720 | 10080 | 2 | 28 | 0 | 0 | 0 | 0 | 1 | 14 | 1 | 14 | 0 | 0 | 0
5 | 1 Bedroom E | SHR | 7 | 57 | 399 | 27 | 189 | 4 | 28 | 4 | 28 | 1 | 7 | 13 | 91 | 880 | 6160 | 3 | 21 | 0 | 0 | 1 | 7 | 2 | 14 | 1 | 7 | 0 | 0 | 0
6 | Studio F | SHR | 7 | 65 | 455 | 25 | 175 | 5 | 35 | 4 | 28 | 1 | 7 | 13 | 91 | 720 | 5040 | 2 | 14 | 1 | 7 | 0 | 0 | 1 | 7 | 1 | 7 | 0 | 0 | 0
7 | 2 Bedroom G | SHR TUB | 11 | 88 | 968 | 36 | 396 | 10 | 110 | 8 | 88 | 2 | 22 | 26 | 286 | 1912 | 21032 | 7 | 77 | 0 | 0 | 2 | 22 | 3 | 33 | 1 | 11 | 0 | 0 | 0
8 | Studio H | SHR | 1 | 65 | 65 | 25 | 25 | 5 | 5 | 4 | 4 | 1 | 1 | 13 | 13 | 752 | 752 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
9 | Studio J | SHR | 7 | 60 | 420 | 25 | 175 | 5 | 35 | 4 | 28 | 1 | 7 | 13 | 91 | 720 | 5040 | 2 | 14 | 1 | 7 | 0 | 0 | 1 | 7 | 1 | 7 | 0 | 0 | 0
10 | Studio K | SHR | 4 | 65 | 260 | 25 | 100 | 5 | 20 | 4 | 16 | 1 | 4 | 13 | 52 | 720 | 2880 | 2 | 8 | 0 | 0 | 0 | 0 | 1 | 4 | 1 | 4 | 0 | 0 | 0
11 | 1 Bedroom L | SHR | 5 | 60 | 300 | 25 | 125 | 5 | 25 | 4 | 20 | 1 | 5 | 13 | 65 | 944 | 4720 | 2 | 10 | 0 | 0 | 1 | 5 | 2 | 10 | 1 | 5 | 0 | 0 | 0
12 | 1 Bedroom M | SHR | 5 | 45 | 225 | 20 | 100 | 5 | 25 | 4 | 20 | 1 | 5 | 13 | 65 | 1080 | 5400 | 3 | 15 | 0 | 0 | 1 | 5 | 2 | 10 | 1 | 5 | 0 | 0 | 0
13 | 1 Bedroom N | SHR | 5 | 60 | 300 | 25 | 125 | 5 | 25 | 4 | 20 | 1 | 5 | 13 | 65 | 976 | 4880 | 3 | 15 | 0 | 0 | 1 | 5 | 2 | 10 | 1 | 5 | 0 | 0 | 0
14 | Studio O | SHR | 5 | 60 | 300 | 25 | 125 | 5 | 25 | 4 | 20 | 1 | 5 | 13 | 65 | 720 | 3600 | 2 | 10 | 0 | 0 | 0 | 0 | 1 | 5 | 1 | 5 | 0 | 0 | 0
15 | Studio P | SHR | 5 | 60 | 300 | 25 | 125 | 5 | 25 | 4 | 20 | 1 | 5 | 13 | 65 | 768 | 3840 | 2 | 10 | 1 | 5 | 0 | 0 | 1 | 5 | 1 | 5 | 0 | 0 | 0
16 | Studio Q | SHR | 13 | 60 | 780 | 25 | 325 | 5 | 65 | 4 | 52 | 1 | 13 | 13 | 169 | 720 | 9360 | 2 | 26 | 1 | 13 | 0 | 0 | 1 | 13 | 1 | 13 | 0 | 0 | 0
17 | 1 Bedroom R | SHR | 7 | 60 | 420 | 25 | 175 | 5 | 35 | 4 | 28 | 1 | 7 | 13 | 91 | 1016 | 7112 | 3 | 21 | 0 | 0 | 1 | 7 | 2 | 14 | 1 | 7 | 0 | 0 | 0
18 | 1 Bedroom S | SHR | 7 | 60 | 420 | 25 | 175 | 5 | 35 | 4 | 28 | 1 | 7 | 13 | 91 | 1016 | 7112 | 3 | 21 | 0 | 0 | 1 | 7 | 2 | 14 | 1 | 7 | 0 | 0 | 0
19 | 1 Bedroom U | SHR | 7 | 60 | 420 | 27 | 189 | 4 | 28 | 4 | 28 | 1 | 7 | 13 | 91 | 1000 | 7000 | 3 | 21 | 0 | 0 | 1 | 7 | 2 | 14 | 1 | 7 | 0 | 0 | 0
20 | Studio I ADA RIS | SHR-A | 1 | 87 | 87 | 33 | 33 | 4 | 4 | 8 | 8 | 0 | 0 | 19 | 19 | 720 | 720 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
21 | Studio I ADA TUB | TUB-A | 2 | 87 | 174 | 33 | 66 | 4 | 8 | 8 | 16 | 0 | 0 | 19 | 38 | 720 | 1440 | 2 | 4 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 2 | 0 | 0 | 0
22 | 1 Bedroom T ADA TUB | TUB-A | 3 | 83 | 249 | 30 | 90 | 6 | 18 | 12 | 36 | 0 | 0 | 19 | 57 | 864 | 2592 | 2 | 6 | 0 | 0 | 1 | 3 | 2 | 6 | 1 | 3 | 0 | 0 | 0
23 | 1 Bedroom T ADA RIS | SHR-A | 1 | 83 | 83 | 30 | 30 | 6 | 6 | 12 | 12 | 0 | 0 | 19 | 19 | 864 | 864 | 2 | 2 | 0 | 0 | 1 | 1 | 2 | 2 | 1 | 1 | 0 | 0 | 0
24 | 2 Bedroom G ADA TUB | TUB-A SHR | 1 | 115 | 115 | 43 | 43 | 10 | 10 | 12 | 12 | 1 | 1 | 32 | 32 | 1784 | 1784 | 7 | 7 | 0 | 0 | 2 | 2 | 3 | 3 | 1 | 1 | 0 | 0 | 0
| Total |  | 160 |  | 10275 |  | 4175 |  | 822 |  | 736 |  | 164 |  | 2284 |  | 144048 |  | 418 |  | 64 |  | 81 |  | 241 |  | 160 | 0 | 0 | 0
| Additional at 7th floor Guestrooms | [13 empty] | ASK |  | 16912
[15 empty] | Ronnie |  | 160960
OF Quantity
| Studio |  | 88 |  | Shower | 153 | (tub to shower conversion) | [5 empty] | 7th Floor |  | studio | 14 | 7560 | 540
| 1 Bedroom |  | 53 |  | Reg Tub | 11 | (tub to new tub replacement) | [7 empty] | 1 bed | 9 | 6480 | 720
| 2 Bedroom |  | 11 |  | ADA TUB | 6 | (RIS to new ADA tub conversion) | [7 empty] | 2 bed | 2 | 2872 | 1436
| Studio ADA RIS |  | 1 |  | ADA RIS | 2 | (RIS to RIS replacement) | [9 empty] | 16912 | SF
| Studio ADA TUB |  | 2
| 1 Bedroom ADA TUB |  | 3 |  | Total | 172
| 1 Bedroom ADA RIS |  | 1
| 2 Bedroom ADA TUB & Reg SHR |  | 1
| Total |  | 160